SEARCHING THE SUN is performed in a useful stage area at least 6 m wide, 4 deep and 3 high.

Indoor or outdoor. A platform is not required when the audience is arranged on tiers (banks) or in an amphitheater, but in case of parterre with more than 150 spectators, we need a podium or elevated stage approximately 40 - 80 cm.

Dressing room with bath for 2 people.

In theater: preferably with background or black box theatre. No stage curtain.

In outdoor performances the stage should be in a wind-sheltered area and should have an alternative space in anticipation of bad weather (Rain, hard wind, etc.).

The sound and lighting control is done from the scene itself, because we do not need external technic during the play.

We bring (only road trips and if you have not): 
Dimmer 6kWh (220V o 380V), analogical lighting console, towers and spotlights 2 PC 1000w + 6 PC 500w + 2 profile triple lenses 100w
Also sound mixer, 2 MD players, 2 wireless microphones and 2 powered speakers of 280w

Depending on your availability, we can connect directly our mixer signal sound (Jack or Cannon) to your P.A.

At night or indoors, we use 6000W frontal general lighting unfiltered and 1 semi-zenith on the background. 
The lighting console should be on the stage.

Depends of all it, we need two electrical connections near to the stage (specify clearly distances):

1st.- 220v 2Kwh Input SCHUCKO (CEE 7 / EU1-16P). For sound.

2nd.- 380v 6Kwh Input preferably CETAC (CEE FORM) 16A (3F + N + T). To light dimmer.

Under certain conditions (ask) can connect also

A / directly to the dimmer if you have flexible electrical cable with input CETAC (FORM CEE) 32A (3P + N + T)
B / 220v 3,5kWh input SCHUCKO, or 16A (CEE blue monophase) (2F + T) to connect to our cable.

Planning Time:

DURATION:	stage set up (indoor-theatre-lighting): 	 2 hours 30 minutes.
stage set up (outdoor-no lighting): 	1 hour 30 minutes.
time between the end of set-up and first play: 	 30 minutes.
performance: 	 1 hour.
time between the end of performance and next: 	 30 minutes.
time between the end of performance and dismantling: 	 15 minutes.
dismantling: 	 1 hour.

Rocamora Teatre

www.rocamorateatre.com

http://www.en.rocamorateatre.com/searching-sun-puppet-theater-show.html

Company’s Van: Fiat Ducato 14. High 2,40 m / width 2m / length 4.65